QuantiTrack Changelog

2026.10.27

- Added a threshold scan that plots the KS test statistic over a range of detection thresholds. Available in Tools->Scan Detection Threshold

2026.09.03

- Fixed bug in SpotOn analysis that caused mis-labeled parameters when using a 3-state model

2026.08.26

- Changed 1-frame jump distance histogram in PreProcess Window to nm (from pixels) and added a line showing the max Jump value.

- Added 2-sample KS test to compare Particle Intensities to the local background in PreProcess Window

- Removed field called ‘Peaks’ from the Results structure. This was a remnant of the past where the Particles were called peaks. The use of peaks was stopped, but some references to it remained and ‘peaks’ is also a built-in matlab function so this resulted in the generation of a nonsense variable.

- Fixed a bug where pEM_postProcess would crash if a single state was optimal.

- Fixed a bug in pEM where skipped frames (with coordinates of NaNs) would cause issues with the analysis.

- Fixed  a bug occurring when rendering heatmaps in pEM_postProcess if the the optimal number of states doesn’t include all possible states.

- For the MSD power law fit, added an offset for the localization error.

- Fixed bug in RL analysis which was causing issues with tracks containing a single detection.

2026.07.31

- Fixed bug that resulted in error when saving if you manually alter tracks.

2026.07.07

- Added an additional check for parallel computing toolbox availability when using a concurrent MATLAB license.

2026.06.08

- Fixed bug where number of track points was not displayed in Angle analysis

- Removed NaNs from anisotropy calculation as the plotting was showing values and I don’t understand where it got them from

- Added to the manual a description of the new parameter to remove small steps from the angle analysis.

2026.05.22

- Fixed bug in saving copy of trackfile in R2025b. Apparently in this version of MATLAB, the file extension isn’t automatically appended to the file name in uiputfile

- Added option to remove from the angle analysis any angle that consists of steps less than the localization precision.

- Batch tracking after using ROI tool now uses parameters set in the Profile for LAP and MTT tracking

2026.03.19

- Fixed bug in saving ROIs from ROI Tool and the resulting batch analysis

2026.03.10

- Added gaussian fitting to the bead selection gui for image aligning so that the transformation matrix isn’t so dependent on where you click

- Added drop-down in ROI Tool allowing user to choose which channel to track if multiple tiff files are present within the folder. Allows the user to select ROI in one channel and track in another

2026.02.23

- Added functionality to import ROIs from MetaMorph and ImageJ inside of the ROI tool

- Added functionality to ROI tool for automated ROI detection from a reference images

- Added display of what should be selected on Mac for file and folder selection throughout the main GUI

- Changed menu item name to Full Batch Processing

- Added ability to edit movie list in Full Batch Processing GUI

- Fixed Split and align tool to work in cases where uManager movie was acquired while skipping frames in some channels